## Sheet1
[5 empty] | Var 1 |  |  |  | Var 2 |  |  |  | Var 3 |  |  |  | Var 4
Base Test | PXR | Frame | Rating | Runs | Name | Max | Min | Interval | Name | Max | Min | Interval | Name | Max | Min | Interval | Name | Max | Min | Interval
PXR35 Apparent Power Test Pickup.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Apparent Power Test Time.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Forward Reactive Power Test Pickup.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Forward Reactive Power Test Time.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Forward Real Power Test Pickup.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Forward Real Power Test Time.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Reverse Real Power Test Pickup.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Reverse Real Power Test Time.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Reverse Reactive Power Test Pickup.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Reverse Reactive Power Test Time.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Voltage Unbalanced Pickup.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Voltage Unbalanced Time.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Over Voltage Pickup Sys Voltage.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Over Voltage Pickup.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Over Voltage Time.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 OverFrequency Pickup.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 OverFrequency Time.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 Phase Loss Pickup.xlsx | 35 | Double Narrow | 6000 | 0
PXR35 Phase Loss Time.xlsx | 35 | Double Narrow | 6000 | 0
PXR35 Current Unbalanced Pickup.xlsx | 35 | Double Narrow | 6000 | 0
PXR35 Current Unbalanced Time.xlsx | 35 | Double Narrow | 6000 | 0
PXR35 UnderFrequency Pickup.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 UnderFrequency Time.xlsx | 35 | Double Narrow | 6000 | -1
PXR35 GF Curve.xlsx | 35 | Double Narrow | 6000 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 0.1 | 0.1 | 0 | GF Slope | 0 | 0 | 0
PXR35 GF Curve.xlsx | 35 | Double Narrow | 6000 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 1 | 0 | GF Slope | 0 | 0 | 0
PXR35 GF Curve.xlsx | 35 | Double Narrow | 6000 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 0.1 | 0.1 | 0 | GF Slope | 1 | 1 | 0
PXR35 GF Curve.xlsx | 35 | Double Narrow | 6000 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 1 | 0 | GF Slope | 1 | 1 | 0
PXR35 GF Time.xlsx | 35 | Double Narrow | 6000 | 90 | I A (PU) | 0.67 | 0.67 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 0 | 0 | 0
PXR35 GF Time.xlsx | 36 | Double Narrow | 6000 | 90 | I A (PU) | 0.67 | 0.67 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 1 | 1 | 0
PXR35 GF Time.xlsx | 35 | Double Narrow | 6000 | 90 | I A (PU) | 0.6 | 0.6 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 0 | 0 | 0
PXR35 GF Time.xlsx | 36 | Double Narrow | 6000 | 90 | I A (PU) | 0.6 | 0.6 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 1 | 1 | 0
PXR35 GFPU.xlsx | 35 | Double Narrow | 6000 | 0
PXR35 Instantaneous Curve.xlsx | 35 | Double Narrow | 6000 | 39 | I A (PU) | 10 | 2.2 | 0.2
PXR35 Instantaneous Pickup.xlsx | 35 | Double Narrow | 6000 | 0
PXR35 Long Delay Pickup.xlsx | 35 | Double Narrow | 6000 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 24 | 24 | 0 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.1 | 0.1 | 0 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.05 | 0.05 | 0 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 1 | 1 | 0 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.1 | 0.1 | 0 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 1 | 1 | 0 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 65 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 65 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 65 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 65 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 235 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 24 | 0.5 | 0.1 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 235 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 24 | 0.5 | 0.1 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 130 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.05 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 130 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.05 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 49 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 48 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 48 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 48 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 19 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.05 | 0.05 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 19 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.05 | 0.05 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 18 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.1 | 0.05 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 18 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.1 | 0.05 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 96 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.05 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 6000 | 96 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.05 | LD Slope | 9 | 9 | 0
PXR35 SDPU.xlsx | 35 | Double Narrow | 6000 | 0
PXR35 SD Curve.xlsx | 35 | Double Narrow | 6000 | 133 | I A (PU) | 15 | 1.7 | 0.1 | LD PU | 40 | 40 | 0 | SD Time | 0.05 | 0.5 | 0 | SD Slope | 1 | 1 | 0
PXR35 SD Curve.xlsx | 35 | Double Narrow | 6000 | 133 | I A (PU) | 15 | 1.7 | 0.1 | LD PU | 100 | 100 | 0 | SD Time | 0.5 | 0.5 | 0 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Narrow | 6000 | 45 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Narrow | 6000 | 45 | I A (PU) | 6.8 | 6.8 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Narrow | 6000 | 45 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 0 | 0 | 0
PXR35 SD Time.xlsx | 35 | Double Narrow | 6000 | 45 | I A (PU) | 6.8 | 6.8 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 0 | 0 | 0
PXR35 Apparent Power Test Pickup.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Apparent Power Test Time.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Forward Reactive Power Test Pickup.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Forward Reactive Power Test Time.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Forward Real Power Test Pickup.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Forward Real Power Test Time.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Reverse Real Power Test Pickup.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Reverse Real Power Test Time.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Reverse Reactive Power Test Pickup.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Reverse Reactive Power Test Time.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Voltage Unbalanced Pickup.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Voltage Unbalanced Time.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Over Voltage Pickup Sys Voltage.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Over Voltage Pickup.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Over Voltage Time.xlsx | 35 | Double Narrow | 800 | -1
PXR35 OverFrequency Pickup.xlsx | 35 | Double Narrow | 800 | -1
PXR35 OverFrequency Time.xlsx | 35 | Double Narrow | 800 | -1
PXR35 Phase Loss Pickup.xlsx | 35 | Double Narrow | 800 | 0
PXR35 Phase Loss Time.xlsx | 35 | Double Narrow | 800 | 0
PXR35 Current Unbalanced Pickup.xlsx | 35 | Double Narrow | 800 | 0
PXR35 Current Unbalanced Time.xlsx | 35 | Double Narrow | 800 | 0
PXR35 UnderFrequency Pickup.xlsx | 35 | Double Narrow | 800 | -1
PXR35 UnderFrequency Time.xlsx | 35 | Double Narrow | 800 | -1
PXR35 GF Curve.xlsx | 35 | Double Narrow | 800 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 0.1 | 0.1 | 0 | GF Slope | 0 | 0 | 0
PXR35 GF Curve.xlsx | 35 | Double Narrow | 800 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 1 | 0 | GF Slope | 0 | 0 | 0
PXR35 GF Curve.xlsx | 35 | Double Narrow | 800 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 0.1 | 0.1 | 0 | GF Slope | 1 | 1 | 0
PXR35 GF Curve.xlsx | 35 | Double Narrow | 800 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 1 | 0 | GF Slope | 1 | 1 | 0
PXR35 GF Time.xlsx | 35 | Double Narrow | 800 | 90 | I A (PU) | 0.67 | 0.67 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 0 | 0 | 0
PXR35 GF Time.xlsx | 36 | Double Narrow | 800 | 90 | I A (PU) | 0.67 | 0.67 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 1 | 1 | 0
PXR35 GF Time.xlsx | 35 | Double Narrow | 800 | 90 | I A (PU) | 0.6 | 0.6 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 0 | 0 | 0
PXR35 GF Time.xlsx | 36 | Double Narrow | 800 | 90 | I A (PU) | 0.6 | 0.6 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 1 | 1 | 0
PXR35 GFPU.xlsx | 35 | Double Narrow | 800 | 0
PXR35 Instantaneous Curve.xlsx | 35 | Double Narrow | 800 | 39 | I A (PU) | 10 | 2.2 | 0.2
PXR35 Instantaneous Pickup.xlsx | 35 | Double Narrow | 800 | 0
PXR35 Long Delay Pickup.xlsx | 35 | Double Narrow | 800 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 24 | 24 | 0 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.1 | 0.1 | 0 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.05 | 0.05 | 0 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 1 | 1 | 0 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.1 | 0.1 | 0 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 1 | 1 | 0 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 65 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 65 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 65 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 65 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 235 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 24 | 0.5 | 0.1 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 235 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 24 | 0.5 | 0.1 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 130 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.05 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 130 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.05 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 49 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 48 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 48 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 48 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 19 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.05 | 0.05 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 19 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.05 | 0.05 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 18 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.1 | 0.05 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 18 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.1 | 0.05 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 96 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.05 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Narrow | 800 | 96 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.05 | LD Slope | 9 | 9 | 0
PXR35 SDPU.xlsx | 35 | Double Narrow | 800 | 0
PXR35 SD Curve.xlsx | 35 | Double Narrow | 800 | 133 | I A (PU) | 15 | 1.7 | 0.1 | LD PU | 40 | 40 | 0 | SD Time | 0.05 | 0.5 | 0 | SD Slope | 1 | 1 | 0
PXR35 SD Curve.xlsx | 35 | Double Narrow | 800 | 133 | I A (PU) | 15 | 1.7 | 0.1 | LD PU | 100 | 100 | 0 | SD Time | 0.5 | 0.5 | 0 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Narrow | 800 | 45 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Narrow | 800 | 45 | I A (PU) | 6.8 | 6.8 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Narrow | 800 | 45 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 0 | 0 | 0
PXR35 SD Time.xlsx | 35 | Double Narrow | 800 | 45 | I A (PU) | 6.8 | 6.8 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 0 | 0 | 0
PXR35 Apparent Power Test Pickup.xlsx | 35 | Double Standard | 800 | -1
PXR35 Apparent Power Test Time.xlsx | 35 | Double Standard | 800 | -1
PXR35 Forward Reactive Power Test Pickup.xlsx | 35 | Double Standard | 800 | -1
PXR35 Forward Reactive Power Test Time.xlsx | 35 | Double Standard | 800 | -1
PXR35 Forward Real Power Test Pickup.xlsx | 35 | Double Standard | 800 | -1
PXR35 Forward Real Power Test Time.xlsx | 35 | Double Standard | 800 | -1
PXR35 Reverse Real Power Test Pickup.xlsx | 35 | Double Standard | 800 | -1
PXR35 Reverse Real Power Test Time.xlsx | 35 | Double Standard | 800 | -1
PXR35 Reverse Reactive Power Test Pickup.xlsx | 35 | Double Standard | 800 | -1
PXR35 Reverse Reactive Power Test Time.xlsx | 35 | Double Standard | 800 | -1
PXR35 Voltage Unbalanced Pickup.xlsx | 35 | Double Standard | 800 | -1
PXR35 Voltage Unbalanced Time.xlsx | 35 | Double Standard | 800 | -1
PXR35 Over Voltage Pickup Sys Voltage.xlsx | 35 | Double Standard | 800 | -1
PXR35 Over Voltage Pickup.xlsx | 35 | Double Standard | 800 | -1
PXR35 Over Voltage Time.xlsx | 35 | Double Standard | 800 | -1
PXR35 OverFrequency Pickup.xlsx | 35 | Double Standard | 800 | -1
PXR35 OverFrequency Time.xlsx | 35 | Double Standard | 800 | -1
PXR35 Phase Loss Pickup.xlsx | 35 | Double Standard | 800 | 0
PXR35 Phase Loss Time.xlsx | 35 | Double Standard | 800 | 0
PXR35 Current Unbalanced Pickup.xlsx | 35 | Double Standard | 800 | 0
PXR35 Current Unbalanced Time.xlsx | 35 | Double Standard | 800 | 0
PXR35 UnderFrequency Pickup.xlsx | 35 | Double Standard | 800 | -1
PXR35 UnderFrequency Time.xlsx | 35 | Double Standard | 800 | -1
PXR35 GF Curve.xlsx | 35 | Double Standard | 800 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 0.1 | 0.1 | 0 | GF Slope | 0 | 0 | 0
PXR35 GF Curve.xlsx | 35 | Double Standard | 800 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 1 | 0 | GF Slope | 0 | 0 | 0
PXR35 GF Curve.xlsx | 35 | Double Standard | 800 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 0.1 | 0.1 | 0 | GF Slope | 1 | 1 | 0
PXR35 GF Curve.xlsx | 35 | Double Standard | 800 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 1 | 0 | GF Slope | 1 | 1 | 0
PXR35 GF Time.xlsx | 35 | Double Standard | 800 | 90 | I A (PU) | 0.67 | 0.67 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 0 | 0 | 0
PXR35 GF Time.xlsx | 36 | Double Standard | 800 | 90 | I A (PU) | 0.67 | 0.67 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 1 | 1 | 0
PXR35 GF Time.xlsx | 35 | Double Standard | 800 | 90 | I A (PU) | 0.6 | 0.6 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 0 | 0 | 0
PXR35 GF Time.xlsx | 36 | Double Standard | 800 | 90 | I A (PU) | 0.6 | 0.6 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 1 | 1 | 0
PXR35 GFPU.xlsx | 35 | Double Standard | 800 | 0
PXR35 Instantaneous Curve.xlsx | 35 | Double Standard | 800 | 39 | I A (PU) | 10 | 2.2 | 0.2
PXR35 Instantaneous Pickup.xlsx | 35 | Double Standard | 800 | 0
PXR35 Long Delay Pickup.xlsx | 35 | Double Standard | 800 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 24 | 24 | 0 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.1 | 0.1 | 0 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.05 | 0.05 | 0 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 1 | 1 | 0 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.1 | 0.1 | 0 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 1 | 1 | 0 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 65 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 65 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 65 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 65 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 235 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 24 | 0.5 | 0.1 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 235 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 24 | 0.5 | 0.1 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 130 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.05 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 130 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.05 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 49 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 48 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 48 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 48 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 19 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.05 | 0.05 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 19 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.05 | 0.05 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 18 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.1 | 0.05 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 18 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.1 | 0.05 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 96 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.05 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 800 | 96 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.05 | LD Slope | 9 | 9 | 0
PXR35 SDPU.xlsx | 35 | Double Standard | 800 | 0
PXR35 SD Curve.xlsx | 35 | Double Standard | 800 | 133 | I A (PU) | 15 | 1.7 | 0.1 | LD PU | 40 | 40 | 0 | SD Time | 0.05 | 0.5 | 0 | SD Slope | 1 | 1 | 0
PXR35 SD Curve.xlsx | 35 | Double Standard | 800 | 133 | I A (PU) | 15 | 1.7 | 0.1 | LD PU | 100 | 100 | 0 | SD Time | 0.5 | 0.5 | 0 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Standard | 800 | 45 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Standard | 800 | 45 | I A (PU) | 6.8 | 6.8 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Standard | 800 | 45 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 0 | 0 | 0
PXR35 SD Time.xlsx | 35 | Double Standard | 800 | 45 | I A (PU) | 6.8 | 6.8 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 0 | 0 | 0
PXR35 Apparent Power Test Pickup.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Apparent Power Test Time.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Forward Reactive Power Test Pickup.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Forward Reactive Power Test Time.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Forward Real Power Test Pickup.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Forward Real Power Test Time.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Reverse Real Power Test Pickup.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Reverse Real Power Test Time.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Reverse Reactive Power Test Pickup.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Reverse Reactive Power Test Time.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Voltage Unbalanced Pickup.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Voltage Unbalanced Time.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Over Voltage Pickup Sys Voltage.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Over Voltage Pickup.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Over Voltage Time.xlsx | 35 | Double Standard | 6300 | -1
PXR35 OverFrequency Pickup.xlsx | 35 | Double Standard | 6300 | -1
PXR35 OverFrequency Time.xlsx | 35 | Double Standard | 6300 | -1
PXR35 Phase Loss Pickup.xlsx | 35 | Double Standard | 6300 | 0
PXR35 Phase Loss Time.xlsx | 35 | Double Standard | 6300 | 0
PXR35 Current Unbalanced Pickup.xlsx | 35 | Double Standard | 6300 | 0
PXR35 Current Unbalanced Time.xlsx | 35 | Double Standard | 6300 | 0
PXR35 UnderFrequency Pickup.xlsx | 35 | Double Standard | 6300 | -1
PXR35 UnderFrequency Time.xlsx | 35 | Double Standard | 6300 | -1
PXR35 GF Curve.xlsx | 35 | Double Standard | 6300 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 0.1 | 0.1 | 0 | GF Slope | 0 | 0 | 0
PXR35 GF Curve.xlsx | 35 | Double Standard | 6300 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 1 | 0 | GF Slope | 0 | 0 | 0
PXR35 GF Curve.xlsx | 35 | Double Standard | 6300 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 0.1 | 0.1 | 0 | GF Slope | 1 | 1 | 0
PXR35 GF Curve.xlsx | 35 | Double Standard | 6300 | 85 | I A (PU) | 1.1 | 0.25 | 0.01 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 1 | 0 | GF Slope | 1 | 1 | 0
PXR35 GF Time.xlsx | 35 | Double Standard | 6300 | 90 | I A (PU) | 0.67 | 0.67 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 0 | 0 | 0
PXR35 GF Time.xlsx | 36 | Double Standard | 6300 | 90 | I A (PU) | 0.67 | 0.67 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 1 | 1 | 0
PXR35 GF Time.xlsx | 35 | Double Standard | 6300 | 90 | I A (PU) | 0.6 | 0.6 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 0 | 0 | 0
PXR35 GF Time.xlsx | 36 | Double Standard | 6300 | 90 | I A (PU) | 0.6 | 0.6 | 0 | GF PU | 0.2 | 0.2 | 0 | GF Time | 1 | 0.1 | 0.01 | GF Slope | 1 | 1 | 0
PXR35 GFPU.xlsx | 35 | Double Standard | 6300 | 0
PXR35 Instantaneous Curve.xlsx | 35 | Double Standard | 6300 | 39 | I A (PU) | 10 | 2.2 | 0.2
PXR35 Instantaneous Pickup.xlsx | 35 | Double Standard | 6300 | 0
PXR35 Long Delay Pickup.xlsx | 35 | Double Standard | 6300 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 24 | 24 | 0 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.5 | 0.5 | 0 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 7 | 7 | 0 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.1 | 0.1 | 0 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.05 | 0.05 | 0 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 1 | 1 | 0 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.1 | 0.1 | 0 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 1 | 1 | 0 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 0.2 | 0.2 | 0 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Curve.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 11 | 1.2 | 0.2 | LD PU | 100 | 100 | 0 | LD Time | 5 | 5 | 0 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 65 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 65 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 0 | 0 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 65 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 65 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.1 | LD Slope | 1 | 1 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 235 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 24 | 0.5 | 0.1 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 235 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 24 | 0.5 | 0.1 | LD Slope | 2 | 2 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 130 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.05 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 130 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 7 | 0.5 | 0.05 | LD Slope | 3 | 3 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 4 | 4 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 49 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.1 | 0.1 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 48 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 5 | 5 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 48 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 48 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.1 | LD Slope | 6 | 6 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 19 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.05 | 0.05 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 19 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.05 | 0.05 | LD Slope | 7 | 7 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 18 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.1 | 0.05 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 18 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 1 | 0.1 | 0.05 | LD Slope | 8 | 8 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 96 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.05 | LD Slope | 9 | 9 | 0
PXR35 Long Delay Time.xlsx | 35 | Double Standard | 6300 | 96 | I A (PU) | 9 | 9 | 0.2 | LD PU | 40 | 40 | 0 | LD Time | 5 | 0.2 | 0.05 | LD Slope | 9 | 9 | 0
PXR35 SDPU.xlsx | 35 | Double Standard | 6300 | 0
PXR35 SD Curve.xlsx | 35 | Double Standard | 6300 | 133 | I A (PU) | 15 | 1.7 | 0.1 | LD PU | 40 | 40 | 0 | SD Time | 0.05 | 0.5 | 0 | SD Slope | 1 | 1 | 0
PXR35 SD Curve.xlsx | 35 | Double Standard | 6300 | 133 | I A (PU) | 15 | 1.7 | 0.1 | LD PU | 100 | 100 | 0 | SD Time | 0.5 | 0.5 | 0 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Standard | 6300 | 45 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Standard | 6300 | 45 | I A (PU) | 6.8 | 6.8 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 1 | 1 | 0
PXR35 SD Time.xlsx | 35 | Double Standard | 6300 | 45 | I A (PU) | 3 | 3 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 0 | 0 | 0
PXR35 SD Time.xlsx | 35 | Double Standard | 6300 | 45 | I A (PU) | 6.8 | 6.8 | 0.2 | LD PU | 40 | 40 | 0 | SD Time | 0.5 | 0.05 | 0.01 | SD Slope | 0 | 0 | 0