## Sheet1
[5 empty] | Var 1 |  |  |  | Var 2 |  |  |  | Var 3 |  |  |  | Var 4
Base Test | PXR | Frame | Rating | Runs | Name | Max | Min | Interval | Name | Max | Min | Interval | Name | Max | Min | Interval | Name | Max | Min | Interval
PXR35 Apparent Power Test Pickup.xlsx | 35 | Narrow | 2000 | -1
PXR35 Apparent Power Test Time.xlsx | 35 | Narrow | 2000 | -1
PXR35 Forward Reactive Power Test Pickup.xlsx | 35 | Narrow | 2000 | -1
PXR35 Forward Reactive Power Test Time.xlsx | 35 | Narrow | 2000 | -1
PXR35 Forward Real Power Test Pickup.xlsx | 35 | Narrow | 2000 | -1
PXR35 Forward Real Power Test Time.xlsx | 35 | Narrow | 2000 | -1
PXR35 Reverse Forward Power Test Pickup.xlsx | 35 | Narrow | 2000 | -1
PXR35 Reverse Forward Power Test Time.xlsx | 35 | Narrow | 2000 | -1
PXR35 Reverse Reactive Power Test Pickup.xlsx | 35 | Narrow | 2000 | -1
PXR35 Reverse Reactive Power Test Time.xlsx | 35 | Narrow | 2000 | -1
PXR35 Voltage Unbalanced Pickup.xlsx | 35 | Narrow | 2000 | -1
PXR35 Voltage Unbalanced Time.xlsx | 35 | Narrow | 2000 | -1
PXR35 Over Voltage Pickup Sys Voltage.xlsx | 35 | Narrow | 2000 | -1
PXR35 Over Voltage Pickup.xlsx | 35 | Narrow | 2000 | -1
PXR35 Over Voltage Time.xlsx | 35 | Narrow | 2000 | -1
PXR35 OverFrequency Pickup.xlsx | 35 | Narrow | 2000 | -1
PXR35 OverFrequency Time.xlsx | 35 | Narrow | 2000 | -1
PXR35 Phase Loss Pickup.xlsx | 35 | Narrow | 2000 | 0
PXR35 Phase Loss Time.xlsx | 35 | Narrow | 2000 | 0
PXR35 Current Unbalanced Pickup.xlsx | 35 | Narrow | 2000 | 0
PXR35 Current Unbalanced Time.xlsx | 35 | Narrow | 2000 | 0
PXR35 UnderFrequency Pickup.xlsx | 35 | Narrow | 2000 | -1
PXR35 UnderFrequency Time.xlsx | 35 | Narrow | 2000 | -1
PXR35 Apparent Power Test Pickup.xlsx | 35 | Narrow | 100 | -1
PXR35 Apparent Power Test Time.xlsx | 35 | Narrow | 100 | -1
PXR35 Forward Reactive Power Test Pickup.xlsx | 35 | Narrow | 100 | -1
PXR35 Forward Reactive Power Test Time.xlsx | 35 | Narrow | 100 | -1
PXR35 Forward Real Power Test Pickup.xlsx | 35 | Narrow | 100 | -1
PXR35 Forward Real Power Test Time.xlsx | 35 | Narrow | 100 | -1
PXR35 Reverse Forward Power Test Pickup.xlsx | 35 | Narrow | 100 | -1
PXR35 Reverse Forward Power Test Time.xlsx | 35 | Narrow | 100 | -1
PXR35 Reverse Reactive Power Test Pickup.xlsx | 35 | Narrow | 100 | -1
PXR35 Reverse Reactive Power Test Time.xlsx | 35 | Narrow | 100 | -1
PXR35 Voltage Unbalanced Pickup.xlsx | 35 | Narrow | 100 | -1
PXR35 Voltage Unbalanced Time.xlsx | 35 | Narrow | 100 | -1
PXR35 Over Voltage Pickup Sys Voltage.xlsx | 35 | Narrow | 100 | -1
PXR35 Over Voltage Pickup.xlsx | 35 | Narrow | 100 | -1
PXR35 Over Voltage Time.xlsx | 35 | Narrow | 100 | -1
PXR35 OverFrequency Pickup.xlsx | 35 | Narrow | 100 | -1
PXR35 OverFrequency Time.xlsx | 35 | Narrow | 100 | -1
PXR35 Phase Loss Pickup.xlsx | 35 | Narrow | 100 | 0
PXR35 Phase Loss Time.xlsx | 35 | Narrow | 100 | 0
PXR35 Current Unbalanced Pickup.xlsx | 35 | Narrow | 100 | 0
PXR35 Current Unbalanced Time.xlsx | 35 | Narrow | 100 | 0
PXR35 UnderFrequency Pickup.xlsx | 35 | Narrow | 100 | -1
PXR35 UnderFrequency Time.xlsx | 35 | Narrow | 100 | -1
PXR35 Apparent Power Test Pickup.xlsx | 35 | Standard | 200 | -1
PXR35 Apparent Power Test Time.xlsx | 35 | Standard | 200 | -1
PXR35 Forward Reactive Power Test Pickup.xlsx | 35 | Standard | 200 | -1
PXR35 Forward Reactive Power Test Time.xlsx | 35 | Standard | 200 | -1
PXR35 Forward Real Power Test Pickup.xlsx | 35 | Standard | 200 | -1
PXR35 Forward Real Power Test Time.xlsx | 35 | Standard | 200 | -1
PXR35 Reverse Forward Power Test Pickup.xlsx | 35 | Standard | 200 | -1
PXR35 Reverse Forward Power Test Time.xlsx | 35 | Standard | 200 | -1
PXR35 Reverse Reactive Power Test Pickup.xlsx | 35 | Standard | 200 | -1
PXR35 Reverse Reactive Power Test Time.xlsx | 35 | Standard | 200 | -1
PXR35 Voltage Unbalanced Pickup.xlsx | 35 | Standard | 200 | -1
PXR35 Voltage Unbalanced Time.xlsx | 35 | Standard | 200 | -1
PXR35 Over Voltage Pickup Sys Voltage.xlsx | 35 | Standard | 200 | -1
PXR35 Over Voltage Pickup.xlsx | 35 | Standard | 200 | -1
PXR35 Over Voltage Time.xlsx | 35 | Standard | 200 | -1
PXR35 OverFrequency Pickup.xlsx | 35 | Standard | 200 | -1
PXR35 OverFrequency Time.xlsx | 35 | Standard | 200 | -1
PXR35 Phase Loss Pickup.xlsx | 35 | Standard | 200 | 0
PXR35 Phase Loss Time.xlsx | 35 | Standard | 200 | 0
PXR35 Current Unbalanced Pickup.xlsx | 35 | Standard | 200 | 0
PXR35 Current Unbalanced Time.xlsx | 35 | Standard | 200 | 0
PXR35 UnderFrequency Pickup.xlsx | 35 | Standard | 200 | -1
PXR35 UnderFrequency Time.xlsx | 35 | Standard | 200 | -1
PXR35 Apparent Power Test Pickup.xlsx | 35 | Standard | 4000 | -1
PXR35 Apparent Power Test Time.xlsx | 35 | Standard | 4000 | -1
PXR35 Forward Reactive Power Test Pickup.xlsx | 35 | Standard | 4000 | -1
PXR35 Forward Reactive Power Test Time.xlsx | 35 | Standard | 4000 | -1
PXR35 Forward Real Power Test Pickup.xlsx | 35 | Standard | 4000 | -1
PXR35 Forward Real Power Test Time.xlsx | 35 | Standard | 4000 | -1
PXR35 Reverse Forward Power Test Pickup.xlsx | 35 | Standard | 4000 | -1
PXR35 Reverse Forward Power Test Time.xlsx | 35 | Standard | 4000 | -1
PXR35 Reverse Reactive Power Test Pickup.xlsx | 35 | Standard | 4000 | -1
PXR35 Reverse Reactive Power Test Time.xlsx | 35 | Standard | 4000 | -1
PXR35 Voltage Unbalanced Pickup.xlsx | 35 | Standard | 4000 | -1
PXR35 Voltage Unbalanced Time.xlsx | 35 | Standard | 4000 | -1
PXR35 Over Voltage Pickup Sys Voltage.xlsx | 35 | Standard | 4000 | -1
PXR35 Over Voltage Pickup.xlsx | 35 | Standard | 4000 | -1
PXR35 Over Voltage Time.xlsx | 35 | Standard | 4000 | -1
PXR35 OverFrequency Pickup.xlsx | 35 | Standard | 4000 | -1
PXR35 OverFrequency Time.xlsx | 35 | Standard | 4000 | -1
PXR35 Phase Loss Pickup.xlsx | 35 | Standard | 4000 | 0
PXR35 Phase Loss Time.xlsx | 35 | Standard | 4000 | 0
PXR35 Current Unbalanced Pickup.xlsx | 35 | Standard | 4000 | 0
PXR35 Current Unbalanced Time.xlsx | 35 | Standard | 4000 | 0
PXR35 UnderFrequency Pickup.xlsx | 35 | Standard | 4000 | -1
PXR35 UnderFrequency Time.xlsx | 35 | Standard | 4000 | -1